## Summary
Medical Device Recall Report
Period: 2026_Week2 (2026-07-08 to 2026-07-14)
Metric | Count
Total FDA Recalls | 2
Total ECRI Alerts | 1
Hospital Matches | 3
Possible Matches | 0
No Match | 0

## FDA Recalls
Recall Number | Recall Class | Product | Manufacturer | Reason | Date Initiated | Status | Distribution | Quantity | Model Number | Catalog Number | UDI | Recall URL
Z-1235-2026 | Class II | Ventilator VT-750 | Zenith Health | Battery indicator may show incorrect charge level. | 2026-07-11 | Ongoing | Nationwide | 856 units | VT-750 | CAT-750 | (01)00844588003295 | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfres/res.cfm?id=Z-1235-2026
Z-1234-2026 | Class I | Infusion Pump IP-3000 | Acme Medical | Pump may stop infusion without alarming. | 2026-07-09 | Ongoing | Nationwide | 1,204 units | IP-3000 | CAT-3000 | (01)00844588003288 | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfres/res.cfm?id=Z-1234-2026

## ECRI Alerts
Alert Number | Title | Manufacturer | Product | Model Number | Catalog Number | Hazard Level | Date Issued | Status | Alert URL
ECRI-8891 | Ultrasound Machine US-900 probe connector failure risk | Zenith Health | Ultrasound Machine | US-900 |  | High | 2026-07-10 | Active | https://sts.ecri.org/alerts/ECRI-8891

## Matches
Recall Source | Recall Number | Hospital Asset Number | Manufacturer | Model | Confidence Score | Status | Method | Reason
FDA | Z-1235-2026 | A-1002 | Zenith Health | VT-750 | 100 | Matched | UDI | Exact UDI match
FDA | Z-1234-2026 | A-1001 | Acme Medical | IP-3000 | 100 | Matched | UDI | Exact UDI match
ECRI | ECRI-8891 | A-1007 | Zenith Health | US-900 | 98 | Matched | Model Number | Exact model number match